Physical Data Center Local Recovery Considerations

Call List order

- Team Lead,

- Alternate, and any other members needed on the Local Recovery Call List**

Preliminary Facility Damage Assessment

Prepare a preliminary list of the damage to the facility.

- Facility (Electrical, Air Conditioning/Ventilating, Fire Protection, Security)

- Personnel

- Media

- Communications

- DP Hardware

Facility Status

- A general assessment of the facilities and the condition of the structure.

- Electrical, Air Conditioning, Ventilating, Security, etc.

| Description ¦ Date / Time ¦ Condition |
| --- |
| Outside Structure |  |
| Security Gates |  |
| Driveways |  |
| Loading Dock |  |
| Water tanks |  |
| Cooling Tower #1 |  |
| Cooling Tower #2 |  |
| Diesel Tanks |  |
| Transformer Pad |  |
| Electrical |  |
| Air Conditioning |  |
| Ventilation |  |
| Security Cameras |  |
| Building Security |  |
| Roof |  |
| Perimeter Fencing |  |

# Communications Assessment - status of supporting communications facilities and circuits. Can they support normal operations; estimate the degree of damage.

Media - Check condition of tapes, ribbons, special forms, diskettes, and any other media items that may have been damaged. What is the condition? Do you have appropriate media supplies?

Preliminary estimate of damage to the telecommunications systems (e.g. wifi, land lines, Central Office, etc.).

Hardware Component Damage Assessment Report

| Items stored in the Disaster Recovery Box stored in onsite box only |
| --- |
| Description |
| Set of data center floor plans |  |
| Set of data center electrical wiring diagrams |  |
| Set of hardware inventory |  |
| Set of Standard Operating Procedures |  |
| Copies of Disaster Recovery Plan |  |
| Copies of Corporate Phone Directory |  |
| Local Phone Directory |  |
| Copy of DRP on flash drive |  |
| Portable Radio (Batteries stored with radio but not inserted) |  |
| Petty Cash Vouchers |  |
| Material Data Sheets |  |
| Flashlight |  |
| Copy of Server (backup) |  |
| Orange Reflector vests |  |
| Yellow Reflector Vests |  |

| Items stored in the Disaster Recovery Box stored in onsite box only |
| --- |
| Description |
| Laptop with service cable / console cable |  |
| Software to access mainframes |  |
| Software to access Corporate servers |  |
| Microsoft Office (Word, EXCEL, ACCESS, POWER POINT) |  |
| Environmental Manager |  |
| Adobe Reader |  |
| Station Manager |  |
| HP Laser Printer |  |
| Cellular Phones |  |
| FAX Machine |  |
| Calculator (with paper tape printer) |  |
| Copier |  |
| Set of data center floor plans |  |
| Set of data center electrical wiring diagrams |  |
| Set of hardware inventory |  |
| Flip Chart Stand (With 2 Pads) |  |